## Slide 1: Isotope ratio mass spectrometry: Basic principles and applications
MENVIPRO Summer School

## Slide 2
2H/1H 13C/12C 18O/16O 15N/14N 34S/32S
The isotope ratios of chemical elements
(13C /12C)1
13C /12C

## Slide 3
Floyd Landis
www.stuff.co.nz/sport/other-sports/3721622/Floyd-Landis-admits-Tour-de-France-doping
Isotope ratio mass spectrometry
IRMS

## Slide 4
100
0.0115
100
1.08
100
0.369
100
0.038
0.205
100
0.80
4.52
0.02
100
IUPAC 2001

## Slide 5
base peak

## Slide 6
Isotopologues
13CH4
12CH4
methane
CH4
CH3
CH2
CH
+.
+
+.
+
C
+.

## Slide 8
100 %
1.1%
CH4
+.
13CH4
+.
 | Atomic No. | Mass No. | Natural abundance %
C | 6 | 12 | 100
 |  | 13 | 1.1
Isotopic pattern of carbon

## Slide 9
+.
M = 28 + 4 x 15 = 88 Da
+
.
M = 73 Da
73
74
75
88
trimethylsilyl ion
Mass Spectrometry; Basic Principles and Applications, Ketevan Lomsadze, TSU press, 2015

## Slide 10
73
75
100%
C3H9Si
+
M = 73 Da
13C 12C2H9Si (3.3%)
C3H929Si (5.1%)
13C 13C 12CH9Si (0.04%)
C3H930Si (3.35%)
 | Atomic No. | Mass No. | Natural abundance %
Si | 14 | 28 | 100
 |  | 29 | 5.0778
 |  | 30 | 3.3473
C | X | X + 1 | X + 2
1 | 100 | 1.1 | 
2 | 100 | 2.2 | 0.01
3 | 100 | 3.3 | 0.04
9 | 100 | 9.7 | 0.42
30 | 100 | 32.3 | 5.0
X + 3
0.5
trimethylsilyl ion
8.4%
3.39%

## Slide 11
X 1000
IAEA - International Atomic Energy Agency
Delta notation
Isotope ratio of the sample
Isotope ratio of the international standard (defined by the IAEA)
‰

## Slide 12
Sayak Basu, Shailesh Agrawal, Prasanta Sanyal, Poritosh Mahato, Satyam Kumar, Anindya Sarkar, Carbon isotopic ratios of modern C3–C4 plants from the Gangetic Plain, India and its implications to paleovegetational reconstruction, Palaeogeography, Palaeoclimatology, Palaeoecology, Volume 440, Pages 22-32, 2015
Sugar cane
Corn
Tropical grasses
Desert plants
Marine plants
C4 plants
Flowering plants
Wheat
Rice
Rye
Cotton
C3 plants

## Slide 13
1. Identification of addition of water;
2. Identification of addition of sugars;
3. Recognition of the geographic provenance.
sugar beet
sugar cane
Verification of wine authenticity

## Slide 14
sample
inlet
ion source
mass
analyzer
detector
data system
Continuous flow
(CF) intel system
Dual-intel (DI)
system
Electron ionization (EI)
ion source
Magnetic sector
mass analyzer
Faraday cup detector array (FCDA)
Elemental analyzer
Gas chromatograph
Liquid chromatograph
Separation techniques
Isotope ratio mass spectrometer

## Slide 15
12C 16O 16O 44 Da
13C 16O 16O
12C 17O 16O
12C 18O 16O 46 Da
45 Da
CO2
 | Atomic No. | Mass No. | Natural abundance %
O | 8 | 16 | 100
 |  | 17 | 0.038
 |  | 18 | 0.205
 | Atomic No. | Mass No. | Natural abundance %
C | 6 | 12 | 100
 |  | 13 | 1.1

## Slide 16
detector
magnetic
analyzer
ion beam
trajectory
ion beam

## Slide 17
Sample
introduction
system
Muccio and Jackson (2009) Analyst 134: 213-222

## Slide 18
 | Atomic No. | Mass No. | Natural abundance %
N | 7 | 14 | 100
 |  | 15 | 0.369
N2
14N 14N 28 Da
15N 14N
15N 15N
29 Da
30 Da
12C 16O 28 Da
13C 16O
12C 17O
12C 18O 30 Da
29 Da
CO
12C 16O 16O 44 Da
13C 16O 16O
12C 17O 16O
12C 18O 16O 46 Da
45 Da
CO2

## Slide 19
13C/12C
18O/16O
15N/14N
34S/32S
http://support.elementar.co.uk/documentation/Subsystems/precisION/precisION.htm#manuals/7._components_and_sub-assemblies/collectors/collectors_technical_description.htm
Faraday cup detector array

## Slide 20
FORENSIC APPLICATIONS OF ISOTOPE RATIO MASS SPECTROMETRY,
Lesley A. Chesson,
Spectroscopy Solutions for Materials Analysis

## Slide 21
Benson, S., Lennard, C., Maynard, P., Roux, C., Forensic applications of isotope ratio mass spectrometry – a review.
Forensic Sci. Int., 157(1), 1-22, 2006
Vienna Pee Dee Belemnite (VPDB)