## Slide 1
11-13 July 2022
Sustainable and Innovative
Approaches for Environmental Safety
2nd Summer School

## Slide 2
Measuring devices used in environmental sciences
11 July 2022

## Slide 3: Measuring devices used in environmental sciences
Avto Tavkhelidze
Ilia State University

## Slide 4: Content
Principles of operation of Scanning Electron Microscope (SEM) and
Transmission Electron Microscope (TEM).
Principles of operation of Energy dispersive x-ray spectroscopy (EDX).
Principles of operation of X-ray structure analyzer (XRD).
Principles of operation of optical and infrared spectrometers.
Measurement device control using LabVIEW software.
Data analysis using Microcal Origin software.

## Slide 5: Optical microscopy and light diffraction

## Slide 6: Scanning Electron Microscopy (SEM) with Energy Dispersive X-Ray Analysis (EDX)

## Slide 7
Energy dispersive X-ray spectroscopy (EDX)

## Slide 8: Scanning Electron Microscope

## Slide 9: SEM images
SEM images of ZnO nanowires with different magnification
SEM image of Si nanograting

## Slide 10: Environmental (ESEM)
Atmosphere gases pumped
Out but water pressure
is maintained.
Humidity =100%
Samples cooled down to
Cryogenic temperatures.

## Slide 11: ESEM Images
Wax microstructure on the surface of an Oxalis acetosella leaf observed in its fully hydrated state

## Slide 12: Transmission Electron Microscope (TEM)

## Slide 13: Transmission Electron Microscope (TEM)

## Slide 14: TEM image of Magnesium

## Slide 15: X-ray diffraction analysis

## Slide 16: X-ray diffraction spectrometer

## Slide 17: X-ray structural analysis of amorphous gold films

## Slide 18: Optical and infrared spectroscopy

## Slide 19: Transmission of electromagnetic waves through atmosphere

## Slide 20
National Instruments LabVIEW and Microcal Origin software

## Slide 21
Solar cell characterization in Microcal Origin

## Slide 22
Than You for attention!